SmitCare Ltd

14 Camberley Business Centre

Bracebridge  Camberley

Surrey  GU15 3DP

Tel: 01276 677888  Fax: 01276 691565

Email: sales@smitcare.co.uk

DERBY ELEPHANT FEET USER INSTRUCTIONS:

Derby Elephant Feet are designed to raise the height of chairs, beds, tables etc. by 9cm or 14cm. depending on model. Elephant Feet will accept leg diameters of up to 8.5 cm

1. Ensure the non-slip pads are in place on top of the Elephant Feet.

2. Place two Elephant Feet close to the existing feet of the piece of

furniture.

3. Carefully lift on to the Elephant Feet.

4. Repeat at the other side of the piece of furniture.

5. Ensure that each leg is centred on the Elephant Feet. Test for

stability. Use in static mode only.

6. Maximum user weight: 380 kg. (including weight of bed) per set of

four raisers.